## Instructions
Spreadsheet to analyze data from a direct reading instrument to identify Excursions, STELs and Ceiling excedences
Ian Drummond 2004 11 23
Areas in yellow are areas where data can be typed freely without affecting operation of the sheet.
1) Download the direct-reading instrument and save the information as described by the manufacturer.
2) Using the manufacturer's software, spreadsheet or other appropriate program, open the data file and copy the data to be analyzed, to the clipboard,.
The minimum information needed is a column of the data values, and a corresponding column of the time that each data point was recorded.
3) Paste the data into the "raw data" spreadsheet in this workbook
Execute the two macros (ctrl + v and ctrl + t) to identify where the data and the time information is located in the raw data sheet.
If Purple error message shows in Cell L4, inspect data to ensure each line has a time and corresponding value. Edit as necessary.
Enter the units of the measurements in cell N7
Enter air concentration for data-logged period, measured by standard method (charcoal tube, dust filter, etc)
If result not entered, factor defaults to 1.00; factor can be entered manually if known from previous work.
4) If the substance has only an 8 Hour OEL
Select the Excursion 15 minute av spreadsheet
Enter the 8 hour OEL
If desired use "Ctrl a" to shift the start time of the graph by 5 or 10 minutes, to better match the 15 minute periods to the activities monitored
Evaluate the results. The box under the graph will high-light in red if the 8-hour TWA or the excursion limits are exceeded.
5) If the substance has both an 8 hour OEL and a 15 minute STEL
Select theSTEL 15 minute av spreadsheet
Enter the 8 hour OEL
Enter the 15 minute STEL
If desired use "Ctrl a" to shift the start time of the graph by 5 or 10 minutes, to better match the 15 minute periods to the activities monitored
Evaluate the results. The box under the graph will high-light in red if the 8-hour TWA or the STEL limits are exceeded.
6) If the substance has only a Ceiling OEL
Select the Ceiling 1 minute av spreadsheet
Enter theCeiling OEL OEL
If desired use "Ctrl a" to shift the start time of the graph by 30 seconds (if data allows this), to better match the 15 minute periods to the activities monitored
Evaluate the results. The box under the graph will high-light in red if the Ceiling limit is exceeded.

## raw data
1) Paste the raw data from the instrument into this sheet, using cell A10 as the top left corner of the data. | [10 empty] | Data Values start below cell |  |  | R21C5 | [drr.xls]Instructions!$A$3 | Last cell modified in this sheet (Macro v) | 22 | 2 | $B$22 | Calculation of the sampling period
2) Click on the cell immediately above the column of values to be analysed, even if it is already filled. | [10 empty] | Time Values start below cell |  |  | R21C2 | [drr.xls]Instructions!$A$3 | Last cell modified in this sheet (Macro t) | 82 | 2 | $B$82 | The time for the first 60 readings is obtained
| Execute macro by pressing <Ctrl + v> to identify where the value data is located. | [13 empty] | R29021C5 | Cell at bottom of 29000 value data points |  |  |  | and divided by 60
3) Click on the cell immediately above the column of times that each data point was collected. | [10 empty] | Execute Macros v and t |  |  |  | R29021C2 | Cell at bottom of 29000 time data points |  |  |  | This accommodates Toxirae data which is only to the nearest minute.
| Execute macro by pressing <Ctrl + t> to identify where the value data is located. | [13 empty] | 0 | No of data points in Value column |  |  | #DIV/0! | number of periods in 15 minutes
4) Return to the "Instructions" sheet to continue the analysis. | [14 empty] | 0 | No of data points in Time column
| Enter the lab result for the air concentration over this period | [6 empty] | units |  | #DIV/0! | Average value of raw data points covering | [5 empty] | R22C5 | cell at top of value data points
| If the result is left blank the response factor will be set to 1.00 | [5 empty] | 1 | Response factor |  | #DIV/0! | minutes of the shift | [5 empty] | R22C2 | cell at top of time data points
======== | ========== | ======== | ======== | ======== | ======== | ======== | ======== | ======== | ======== | ======== | ======== | ======== | ======== | ========

## Excursion 15 min av
0 | [8 empty] | 2 |  |  |  |  | % OEL | % OEL
0 | [8 empty] | 0 | Cells for 15 min av. |  | ref.start | ref stop | >=500 | >=300
0 |  |  |  | Instrument response factor |  | 1 | calculated on "raw data" sheet |  | 22 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 |  |  |  | Enter 8-h TWA for substance |  | #N/A | units |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | [9 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | No. logging periods in 15 mins |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Start Date and Time | % OEL | units |  | Note: Check this calculated value against the actual sample period | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | [9 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | Start of graph is time shifted forward by |  |  | #DIV/0! | minutes | "ctrl a" to shift phase |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | of graph by +120o |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | units | is the 8-hour TWA (assuming no exposure in unmonitored periods) |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | 0 | 15 Minute period exceeds 5 x the 8-h TWA OEL | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | 0 | 15 Minute period exceeds 3 x the 8-h TWA OEL | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0!

## STEL 15 min av
0 | [10 empty] | 2 |  |  |  |  | % STEL | % TWA | 1 h apart
0 | [10 empty] | 0 | Cells for 15 min av. |  | ref.start | ref stop | >=100 | >=100 | TRUE
0 |  |  |  | Instrument response factor |  |  | 1 | calculated on "raw data" sheet |  |  | 22 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 |  |  |  | Enter 8-h TWA for substance |  |  | #N/A | units |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 |  |  |  | Enter 15 min STEL |  |  | #N/A | units |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Start Date |  |  |  | No. logging periods in 15 mins |  |  | #DIV/0! |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
and Time | % STEL | % TWA | units | Note: Check this calculated value against the actual sample period | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | [11 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | 1 h apart
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Start of graph is time shifted forward by |  |  |  | #DIV/0! | minutes | "ctrl a" to shift phase |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | of graph by +120o |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | units | is the 8-hour TWA (assuming no exposure in unmonitored periods) | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 15 Minute period exceeds the STEL | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 15 Minute periods exceeds the 8-h TWA OEL value | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | Periods less than 1 h between periods exceeding the 8-h TWA value | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [14 empty] | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [14 empty] | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [14 empty] | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [14 empty] | #DIV/0!

## Ceiling 1 min av
0 | [7 empty] | 2 |  |  |  |  | % OEL | % OEL
0 | [7 empty] | 0 | Cells for 15 min av. |  | ref.start | ref stop | >=100 | >=300
0 |  |  |  | Instrument response factor | 1 | calculated on "raw data" sheet |  | 22 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 |  |  |  | Enter Ceiling Limit for substance | #N/A | units |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
0 | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | No. logging periods in 1 min | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Start Date and Time | % OEL | units |  | Note: Check this calculated value against the actual sample period |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | Start of graph is time shifted forward by |  | #DIV/0! | seconds | "ctrl a" to shift phase |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! |  |  |  |  | of graph by +120o |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 Minute periods exceeds the Ceiling Limit |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0!

## limitations
Limitations of the program
1) It will analyse no more than 8 hours of data
2) If there is a period at the end of the data which has less than 15 minutes worth of data,
the program assigns a value of zero to the unmeasured periods and calculates the 15 minute average
3) There must be at least 60 readings for the program to evaluate the number of readings per 15 minutes
4) it will handle maximum of 28,900 data points (8 hours at one per second)
5) The data must be evenly spaced in time. It cannot handle data irregularly spaced, even if each data point is time-stamped.